## Slide 1: Hearing through haptics
Colin Ancalmo, Amani Campbell, Yifan Liu, James Van Tronk, Emily Wood
A WPI Major Qualifying Project by
Advised by
Professor Joe Stabile
A Planar, Audio-spatial Awareness Device

## Slide 2: Problem statement Vestibulocochlear nerve
466 Million cases of disabling hearing loss world wide. Expected to double by 2050 (WHO, 2020)
Existing assistive devices are limited

## Slide 3: Haptic audio assistive device
Independent of the vestibular nerve
Non-invasive, wearable and planar
Utilize haptic feedback to the indication direction of sounds
Urgent safety alerts
Social interactions
Fire Alarms, Vehicle Honks & Sirens
Voices Directed Toward You

## Slide 4: Haptic mechanisms
Magnet and coil
Dielectric ELASTOMERS
INVERSE PIEZOS

## Slide 5: Wearable design
Microphones
Ribbon Cables
Electrical Housing
Planar Actuators

## Slide 6: 01 Mechanical design

## Slide 7: Actuator design development
z
Race track
Flexible pyralux
Planar coil disk

## Slide 8: Final dome cad assembly
Glue Bond
3D Printed Coil Spring Housing (PLA)
Formed Dome Coil (178 Turns, 30 AWG)
Turned Planar Spring (1095 Spring Steel)
Disk Magnet
(N40)

## Slide 9: HARDWARE FABRICATION
Copper Coil
Hitch Pin

## Slide 10: Final actuator analysis
Inertial force output at steady state resonance:
Favg = 0.0442N
Magnetic, harmonic, force
Magnetic: Fln = 0.0068 N
Resonant Frequency: 169 Hz
Final Coil Diameter: 27mm

## Slide 11: Resonance Validation
Expected M1 Resonance: 169 Hz
Measured M1 Resonance:166 Hz

## Slide 12: 02 electrical design

## Slide 13: Wearable design
Microphones
Ribbon Cables
Electrical Housing
Planar Actuators

## Slide 14: AUDIO SENSING AND PROCESSING
Input
Sound
Processing
Output
Vibration
Notes: We have a block diagram of how our system operates: We take in sound as our input through the microphones

## Slide 15: Electrical hardware
Microphone housing
circuit housing

## Slide 16: Future work

## Slide 17: Acknowledgements
Our Advisor: Joe Stabile
Foisie Innovation Studio Makerspace: Mitra Anand
Washburn Shops
Bose Corporation Makerspace: Dan Sheehan and Carl Kallgren
ECE Students: Tahvorn George and Fivos Kavassalis
ME Department: Barbara Furham

## Slide 18: Thank you!
cancalmo@wpi.edu
aacampbell@wpi.edu
jrvantronk@wpi.edu
yliu21@wpi.edu
eswood@wpi.edu